## meas_hpge_calib
############################################################### README
Scripts:
spectrum_nrj.py | - get the energy calibration - Eu152 only
spectrum_plot.py | - plot the spectrum |  | top | log with the raw / bkg / raw-bkg
|  |  | mid | lin with the raw / bkg / raw-bkg
|  |  | bot | log with the peak positions
- help the user to select the peak (and noise) intergration areas; this in contained in the "spectrum_plot_out" file generated
| - how to | step 1 | click on the zoom button and zoom around a peak of interest
advise – top: global view with bkg visible / mid: zoom on thebottom of the peak to see the ground variation / bot: do not touch to see all the black points
|  | step2 | (this is based on the top-left key of the keyboard: AZER / QWER)
|  |  | hold ‘Z’ or ‘W’ and click |  | select all the peak you want to put together (todo multiple times)
|  |  | hold ’A’ or ‘Q’ and click |  | select the two left limits for the ground estimation
|  |  | hold ‘E’ and click |  | select the two right limits
|  |  | hold ‘R’ and click |  | reinitialize
|  |  | hold ‘Enter’ and click |  | validate this peak
|  | step 3 | after the execution (closing the window) the spectrum_plot_out is generated
put this file in the generic data repository (one file per dosimeter)
spectrum_counter.py | - provide the number of count for each peak
- if it corresponds to a source; then compute the efficiency and put it in the "spectrum_counter_out/case_name" file
spectrum_calib.py | - perform the efficiency calibration
- uses a list of "spectrum_counter_out/case_name"
############################################################### COMMAND SUMMARY
example of inputs |  | path_csv=meas_hpge_calib_petale2.xlsx
name_case=Eu_L1_p13_dec2019
2020_07_07_09_59_24_L1_p13_10m_Eu152-2020_5-6_0-8.TKA
cd $petale_analysis/hpge
1st time with HPGe config: |  | python3 spectrum_nrj2.py tka=data/2020_05_29_13_55_26_L1_p13_200h_Eu152-2020.TKA
1st time with a material:
python3 spectrum_counter11.py csv=$path_csv case=Eu152_L1_p13_mai2020
python3 spectrum_calib2.py csv=$path_csv case=L1_p13_mai_2020
############################################################### DATA
generic
path_data | data_spectrometry
| This table is for the spectrum_plot4.py, it contains for a material the isotopes of interest | [8 empty] | e.g. “Na24” for a corresponding file in data_spectrometry: “Na24_lnhb”
tab_mat2iso | Eu152 | Na22 | Cs134 | Cs137 | Co57 | Co60 | Mn54 | Ba133 | Al | In | Au | Ni | Co60 | Fe | U235 | Zn65
| Eu152 | Na22 | Cs134 | Cs137 | Co57 | Co60 | Mn54 | Ba133 | Na24 | In116M | Au198 | Co58 | Co60 | Mn54 | U235 | Zn65
[10 empty] | In115M |  |  |  | Mn56
Fe59
| This table is for the spectrum_counter5.py script, to change easily the integration peak area (noise and gauss) | [8 empty] | e.g. “Al” for a corresponding file in data_spectrometry: spectrum_plot_out_Al_lnhb
tab_mat2peak | Eu152 | Na22 | Cs134 | Cs137 | Co57 | Mn54 | Ba133 | Al | In | Au | Ni | Co60 | Fe | Zn65
| Eu152 | Na22 | Cs134 | Cs137 | Co57 | Mn54 | Ba133 | Al | In | Au | Ni | Co60 | Fe | Zn65
This table contains the source caracteristics
source_description | name | period | period_sig | activity | activity_sig [%] | date |  | 2sig (certificat) - for info
| Eu152-1999 | 13.522y | 0.016y | 45.4kBq | 0.5 | 1999_01_13
| Eu152-1983 | 13.522y | 0.016y | 1.36uCu | 2 | 1983_02_01
| Cs137-2020 | 30.05y | 0.08y | 38.4kBq | 0.52083 | 2020_01_01 |  | 0.4kBq
| Mn54-2020 | 312.19d | 0.03d | 10.94kBq | 0.50274 | 2020_01_01 |  | 0.11kBq
| Zn65-2020 | 244.01d | 0.09d | 28.0kBq | 0.71429 | 2020_01_01 |  | 0.4kBq
| Co60-2020 | 5.2711y | 0.0008y | 12.64kBq | 0.51424 | 2020_01_01 |  | 0.13kBq
| Na22-2020 | 2.6029y | 0.0008y | 17.59kBq | 0.51165 | 2020_01_01 |  | 0.18kBq
| Eu152-2020 | 13.522y | 0.016y | 54.1kBq | 0.83179 | 2020_01_01 |  | 0.9kBq
| Eu152-2022 | 13.522y | 0.016y | 54.1kBq | 0.83179 | 2020_01_01 |  | 0.9kBq
| Cs134-2020 | 2.0644y | 0.0014y | 71.0kBq | 0.56338 | 2020_01_01 |  | 0.8kBq
| Co57-2020 | 271.81d | 0.04d | 16.75kBq | 0.50746 | 2020_01_01 |  | 0.17kBq
| Ba133-2020 | 10.539y | 0.006y | 4.52kBq | 0.5531 | 2020_01_01 |  | 0.05kBq
| Eu152-2021 | 13.522y | 0.016y | 54.1kBq | 0.83179 | 2020_01_01 |  | 0.9kBq
| Eu152-Daniel | 13.522y | 0.016y | 45.4kBq | 0.5 | 1999_01_13
############################################################### EXAMPLE OF MEASUREMENT
case_example | [6 empty] | 1st time with HPGe |  | python3 spectrum_nrj1.py tka=data/todo.TKA
labo_ref | nndc | (or lnhb) |  |  |  |  | 1st time with material |  | python3 spectrum_plot4.py csv=$path_csv case=todo
path_bkg | data/bkg.TKA | [5 empty] | for each measurement |  | python3 spectrum_counter5.py csv=$path_csv case=todo serv=1
path_data | data/yy_mm_dd_hh_mm_ss_hpge_position_material_blabla.TKA
nrj_calib | a*x**2+b*x+c | 0 | 1 | 0 |  | (a*x+b fonctionne aussi)
############################################################## | [8 empty] | python3 spectrum_nrj1.py tka=../irrad/petale/hpge_data/calib/Fu/2020_09_29_12_00_00_Fu_p13_Eu152-2020.TKA
############################## Fu #############################
##############################################################
python3 spectrum_nrj2.py tka=test_data/spectro_files/calib_spectra/2020_09_29_12_00_00_Fu_p13_Eu152-2020.TKA
############################################################### Eu 152 | [5 empty] | python3 spectrum_plot4.py csv=$path_csv case=Eu152_Fu
Eu152_Fu | [5 empty] | python3 spectrum_counter11.py csv=$path_csv case=Eu152_Fu serv=1
labo_ref | nndc
path_bkg | test_data/spectro_files/background_spectra/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | test_data/spectro_files/calib_spectra/2020_09_29_12_00_00_Fu_p13_Eu152-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Eu-152 2021 | [5 empty] | python3 spectrum_plot4.py csv=$path_csv case=Eu152-2021_Fu
Eu152-2021_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Eu152-2021_Fu serv=1
labo_ref | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2021_06_17_15_27_42_Fu_p13_Eu152-2021.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Co 60
Co60_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Co60_Fu serv=1
labo_ref | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2020_10_01_12_00_00_Fu_p13_24h_Co60-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Mn 54
Mn54_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Mn54_Fu serv=1
labo_ref | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2020_10_02_12_00_00_Fe_p13_Mn54-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Cs 137
Cs137_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Cs137_Fu serv=1
labo_ref | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2020_10_02_12_00_00_Fu_p13_Cs137-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Cs 134
Cs134_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Cs134_Fu serv=1
labo_ref | nndc | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2020_10_06_12_00_00_Fu_p13_Cs134-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Zn 65
Zn65_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Zn65_Fu serv=1
labo_ref | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2020_10_06_12_00_00_Fu_p13_Zn65-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Co 57
Co57_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Co57_Fu serv=1
labo_ref | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2020_10_05_12_00_00_Fu_p13_Co57-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Na 22
Na22_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Na22_Fu serv=1
labo_ref | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2020_10_01_12_00_00_Fu_p13_Na22-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### Ba133
Ba133_Fu | [5 empty] | python3 spectrum_counter5.py csv=$path_csv case=Ba133_Fu serv=1
labo_ref | nndc
path_bkg | ../irrad/petale/hpge_data/calib/Fu/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_data | ../irrad/petale/hpge_data/calib/Fu/2020_09_30_12_00_00_Fu_p13_Ba133-2020.TKA
nrj_calib | a*x+b | 4.8493 | -2.7884
############################################################### The efficiency calibration
Fu_p13_oct_2020 | [5 empty] | python3 check_cascade1.py
fit_order | 7 | 7 |  |  |  | python3 spectrum_calib2.py csv=$path_csv case=Fu_p13_oct_2020
sigma_cut [%] | 1
check_cascade | True
eff_data | path_list
Eu152_Fu
Co60_Fu
Mn54_Fu
Cs137_Fu
Na22_Fu
Ba133_Fu
Cs134_Fu
Zn65_Fu
Ba133_Fu
Eu152-2021_Fu