## meas_hpge_calib
############################################################### DATA
generic
path_data | test_data/spectro_files/data_spectrometry |  |  |  | <---- PATH TO THE PEAKS INTEGRATION PARAMETERS, WHICH CAN BE PRODUCED WITH spectrum_plot4.py
| This table is for the spectrum_plot3.py, it contains for a material the isotopes of interest | [8 empty] | e.g. “Na24” for a corresponding file in data_spectrometry: “Na24_lnhb”
tab_mat2iso | Eu152 | Na22 | Cs134 | Cs137 | Co57 | Co60 | Mn54 | Ba133 | Al | In | Au | Ni | Co60 | Fe | U235 | Zn65
| Eu152 | Na22 | Cs134 | Cs137 | Co57 | Co60 | Mn54 | Ba133 | Na24 | In116M | Au198 | Co58 | Co60 | Mn54 | U235 | Zn65
[10 empty] | In115M |  |  |  | Mn56
Fe59
| This table is for the spectrum_counter4.py script, to change easily the integration peak area (noise and gauss) | [8 empty] | e.g. “Al” for a corresponding file in data_spectrometry: spectrum_plot_out_Al_lnhb
tab_mat2peak | Eu152 | Na22 | Cs134 | Cs137 | Co57 | Mn54 | Ba133 | Al | In | Au | Ni | Co60 | Fe | Zn65
| Eu152 | Na22 | Cs134 | Cs137 | Co57 | Mn54 | Ba133 | Al | In | Au | Ni | Co60 | Fe | Zn65
This table contains the source caracteristics
source_description | name | period | period_sig | activity | activity_sig [%] | date |  | 2sig (certificat) - for info
| Eu152-1999 | 13.522y | 0.016y | 45.4kBq | 0.5 | 1999_01_13
| Eu152-1983 | 13.522y | 0.016y | 1.36uCu | 2 | 1983_02_01
| Cs137-2020 | 30.05y | 0.08y | 38.4kBq | 0.52083 | 2020_01_01 |  | 0.4kBq
| Mn54-2020 | 312.19d | 0.03d | 10.94kBq | 0.50274 | 2020_01_01 |  | 0.11kBq
| Zn65-2020 | 244.01d | 0.09d | 28.0kBq | 0.71429 | 2020_01_01 |  | 0.4kBq
| Co60-2020 | 5.2711y | 0.0008y | 12.64kBq | 0.51424 | 2020_01_01 |  | 0.13kBq
| Na22-2020 | 2.6029y | 0.0008y | 17.59kBq | 0.51165 | 2020_01_01 |  | 0.18kBq
| Eu152-2020 | 13.522y | 0.016y | 54.1kBq | 0.83179 | 2020_01_01 |  | 0.9kBq
| Cs134-2020 | 2.0644y | 0.0014y | 71.0kBq | 0.56338 | 2020_01_01 |  | 0.8kBq
| Co57-2020 | 271.81d | 0.04d | 16.75kBq | 0.50746 | 2020_01_01 |  | 0.17kBq
| Ba133-2020 | 10.539y | 0.006y | 4.52kBq | 0.5531 | 2020_01_01 |  | 0.05kBq
The "DATA" should correspond to the one of the HPGe xlsx file
modify it if you want but I recommend to be consistent in both files
# Pour lancer le script d'analyse d'un spectre :
python3 $petale_analysis/python/hpge/spectrum_counter4.py csv=spectro_out/input_exemple.xlsx case=toto serv=1
############################################################### MEASUREMENT
2020_10_15_07_55_19_Fu_p13_In-Pni-10-i
labo_ref | nndc | [7 empty] | DO NOT TOUCH THE RED ONES
the "check" script is doing it for you :)
path_data | test_data/spectro_files/Dosi_spectra/Pni-In-i/2020_10_15_07_55_19_Fu_p13_In-Pni-10-i.TKA
path_bkg_Fu | test_data/spectro_files/background_spectra/2020_10_19_12_00_00_Fu_90h_bkg.TKA
path_bkg_Ho | test_data/spectro_files/background_spectra/2020_10_19_12_00_00_Ho_90h_bkg.TKA
path_bkg_Li | test_data/spectro_files/background_spectra/2022_07_26_11_13_17_Li_pgrd_Co60-2020.TKA | [7 empty] | # pour récupérer la calibratino en energie au besoin (e.g. modification du gain) :
path_bkg_Zm | test_data/spectro_files/background_spectra/2022_12_14_11_36_23_Zm_pgrd_Co60-2020.TKA | [7 empty] | python3 $petale_analysis/python/hpge/spectrum_nrj1.py tka=hpge_data/calib/Fu/2020_09_29_12_00_00_Fu_p13_Eu152-2020.TKA
nrj_calib_Fu | a*x+b | 4.8493 | -2.7884 | [5 empty] | python3 $petale_analysis/python/hpge/spectrum_nrj1.py tka=hpge_data/calib/Ho/2020_10_13_12_00_00_Fu_p13_Eu152-2020.TKA
nrj_calib_Ho | a*x+b | 5.1999 | -2.3361 | [5 empty] | python3 $petale_analysis/python/hpge/spectrum_nrj1.py tka=hpge_data/calib/Li/2020_10_13_07_36_23_Fu_p13_Eu152-2020.TKA
nrj_calib_Li | a*x+b | 5.3382 | -2.5273 | [5 empty] | python3 $petale_analysis/python/hpge/spectrum_nrj1.py tka=hpge_data/calib/Zm/2020_10_15_12_00_00_Fu_p13_Eu152-2020.TKA
nrj_calib_Zm | a*x+b | 6.0022 | -2.4426
|  |  | path_bkg | test_data/spectro_files/background_spectra/2020_10_19_12_00_00_Fu_90h_bkg.TKA
|  |  | nrj_calib | a*x+b | 4.8493 | -2.7884