## Feuil1
data
dim_barre | name | fct_pos | width [cm] | thickness [cm] | h_min [cm] | h_max [cm] | hole_width [cm] | hole_thickness [cm] | centrage | pos_hole
| C | x+0.5 | 3.89 | 0.45 | 0.5 | 129.5 | 2.98 | 0.24 | 0 | 2_98
| P* | 50+x | - | - | - | - | - | - | - | -
hpge | name | pos | path
| Fu | p13 | test_data/calib_Fu_p13_2020_10
Gamma_spec_path | path_xls_example | spectra_folder
| test_data/spectro_files/input_exemple.xlsx | test_data/spectro_files/Dosi_spectra
XS_path | sim_XSDATA | IRDFF_folder
| test_data/sss_jeff33.xsdata | test_data/iaea_data
monitors | channel | calibration [count/J] |  | with mcnp | with sss | tau [s] | tau sig [s] |  | Note :Power=ps +(p-ps)*exp((p-ps)*pa)
| v1 | 2614 |  | 2635 | 2614 | 2.531e-07 | 6e-10
| v2 | 2686 |  | 2708 | 2686 | 2.402e-07 | 5e-10
# How to run the script:
cd Your/Working/Folder
csv_data=Path/To/This/Spreadsheet.xlsx
csv_dosi=Path/To/The/Dosi/Info.xlsx
case=expNi_in2 |  |  |  |  | case=expNi_ni_fe |  |  | case=expFe_ni_fe |  |  | case=expNi_au
python3.10 ~/Link_to_analysis/python/irrad/barre11.py csv_data=$csv_data csv_dosi=$csv_dosi case=$case var_reduction=True is_petale=True
python3.10 ~/Link_to_analysis/python/sss_input/petale_26_WIP.py csv_data=$csv_data csv_dosi=$csv_dosi case=$case
# post measurment processing
python3.10 ~/Link_to_analysis/python/irrad/the_big_conversion3.py
python3.10 ~/Link_to_analysis/python/irrad/check10.py csv_data=$csv_data csv_dosi=$csv_dosi lcase=$case plot=True
# post simulation processing
python3.10 ~/Link_to_analysis/python/Misc/sim_merge.py csv_data=$csv_data lcase=$case
python3.10 ~/Link_to_analysis/python/irrad/nducup13_WIP.py csv_data=$csv_data csv_dosi=$csv_dosi lcase=$case load_nuis=False
python3.10 ~/Link_to_analysis/python/irrad/up_pos2_WIP.py csv_data=$csv_data csv_dosi=$csv_dosi lcase=$case load_nuis=False
python3.10 ~/Link_to_analysis/python/hpge/ratioeff5.py csv_data=$csv_data csv_dosi=$csv_dosi lcase=$case plot=True
python3.10 ~/Link_to_analysis/python/irrad/nducup_nuis4.py csv_data=$csv_data csv_dosi=$csv_dosi lcase=$case
python3.10 ~/Link_to_analysis/python/irrad/irrad2hpge_21_WIP.py csv_data=$csv_data csv_dosi=$csv_dosi lcase=$case dt_corr=True load_nuis=False which_norm="Custom"
expNi_in2
data_other | data
compo_plate | Ni
date | 2020_10_14
time_start_irrad | 17_35_00
time_stop_irrad | 18_29_00
monitor_path | test_data/power_profile/2020_10_29_17_18_00_v1_d1_1.TKA
irrad_power&time | 60W_30m
sss_path | test_data/sim_res/input
sss_path_nduc | test_data/ND_nuis/num all/C/P1_1/P2_1/P3_1/P4_1/P5_1/P6_1/P7_1/P8_1/P9_1/C2/C3
sss_path_up_pos | dummy all/P1_1/P2_1/P3_1/P4_1/P5_1/P6_1/P7_1/P8_1/P9_1
water_lvl [mm] | dev_pre_irrad | inus_pre_irrad | dev_irrad | inus_irrad
| - | - | 1000 | 1000
Control_rod_height [mm] | BABS NO | BABS SE
| 1000 | 285
Elements_position [mm] | core_distance
0
temperature [°C] | T1 | T2 | T3 | T4 | T5
| 19.78 | 19.93 | 20.14 | 20.16 | 19.6
dosimeters | name | iso | mt | pos_barre | pos [cm] | pos_reel [cm] | y_m_d | h_m_s | time_in_hpge | hpge_id | hpge_pos | counts | counts_sig | dead_time | counts_no_corr | counts_no_corr_s | Factor | order
| In-Pni-10-i | 491150 | 11004 | C | 0 | 45 | 2020_10_15 | 07_55_19 | 7232s | Fu | p13 | 85290.9124 | 293.9182 | 0.000712 | 85230.1745 | 293.8122 | 1 | x
| In-Pni-10-i | 491150 | 11004 | C | 0 | 45 | 2020_10_15 | 14_10_14 | 1149s | Fu | pgrd | 193625.1746 | 441.819 | 0.004005 | 192849.6516 | 440.9261 | 1 | x
| In-Pni-10-i | 491150 | 11004 | C | 0 | 45 | 2020_10_15 | 18_40_16 | 3613s | Ho | pgrd | 219311.4801 | 470.1307 | 0.003669 | 218506.6738 | 469.2602 | 1 | x
| In-Pni-10-i | 491150 | 11004 | C | 0 | 45 | 2020_10_15 | 12_05_01 | 604s | Li | pgrd | 88868.5299 | 299.0376 | 0.004643 | 88455.8671 | 298.3382 | 1 | x
| In-Pni-10-i | 491150 | 11004 | C | 0 | 45 | 2020_10_15 | 16_38_52 | 2109s | Zm | pgrd | 169817.9288 | 413.6856 | 0.003892 | 169156.9558 | 412.8737 | 1 | x
| In-Pni-1-i | 491150 | 11004 | P1_1 | 0 | 50 | 2020_10_15 | 17_15_11 | 12020s | Zm | pgrd | 100049.9903 | 318.2978 | 0.001764 | 99873.4774 | 318.014 | 1 | In-Pni-3-i
| In-Pni-2-i | 491150 | 11004 | P2_1 | 0 | 50 | 2020_10_15 | 12_51_21 | 4661s | Fu | pgrd | 85088.7337 | 292.427 | 0.000511 | 85045.2462 | 292.3519 | 1 | In-Pni-3-i
| In-Pni-3-i | 491150 | 11004 | P3_1 | 0 | 50 | 2020_10_15 | 09_58_29 | 5116s | Fu | pgrd | 98301.7645 | 315.7491 | 0.000516 | 98251.0315 | 315.6665 | 1 | In-Pni-3-i
| In-Pni-4-i | 491150 | 11004 | P4_1 | 0 | 50 | 2020_10_15 | 13_23_28 | 18827s | Ho | pgrd | 83123.1075 | 290.0653 | 0.001569 | 82992.5579 | 289.8352 | 1 | In-Pni-3-i
| In-Pni-5-i | 491150 | 11004 | P5_1 | 0 | 50 | 2020_10_15 | 10_36_44 | 9919s | Ho | pgrd | 55695.0284 | 237.1727 | 0.001603 | 55605.7041 | 236.9804 | 1 | In-Pni-3-i
| In-Pni-6-i | 491150 | 11004 | P6_1 | 0 | 50 | 2020_10_15 | 07_53_27 | 9648s | Ho | pgrd | 57679.3333 | 241.0518 | 0.001532 | 57590.9156 | 240.8652 | 1 | In-Pni-3-i
| In-Pni-7-i | 491150 | 11004 | P7_1 | 0 | 50 | 2020_10_15 | 12_16_33 | 82429s | Li | pgrd | 47410.1342 | 226.6378 | 0.000164 | 47402.2973 | 226.6185 | 1 | In-Pni-3-i
| In-Pni-8-i | 491150 | 11004 | P8_1 | 0 | 50 | 2020_10_15 | 07_52_55 | 15010s | Li | pgrd | 31392.0838 | 179.0253 | 0.000213 | 31385.374 | 179.0059 | 1 | In-Pni-3-i
| In-Pni-9-i | 491150 | 11004 | P9_1 | 0 | 50 | 2020_10_15 | 07_50_58 | 31562s | Zm | pgrd | 35545.8885 | 194.0861 | 0.001494 | 35492.6156 | 193.9355 | 1 | In-Pni-3-i
| Au-Pni-in-rc-i | 791970 | 102 | C | 0 | 35 | 2020_10_21 | 11_30_09 | 7242s | Fu | p13 | 385286.1469 | 626.066 | 0.001502 | 384707.4544 | 625.5876 | 1 | x
| Au-Pni-in-rp-i | 791970 | 102 | P3_5 | 0 | 50 | 2020_10_15 | 14_31_21 | 21738s | Fu | p13 | 190308.8262 | 438.282 | 0.000321 | 190247.8252 | 438.2111 | 1 | x